## Slide 1
Week 9
Motor Wiring Method
MEC 415 Industrial Controls

## Slide 2: Class Assignment Questions
What version of the Canadian Electrical Code (CEC) is the most current?
Which Rule Section is relevant to us for installing motors?
Which Rules did we look at during class today?

## Slide 4: Canadian Electrical Code (CEC)
In Canada, every province and territory adopts and enforces the same installation code, the Canadian Electrical Code (CEC), Part I, Electrical Installations.
  In particular, motor wiring is discussed in CEC, Rule Section 28.

## Slide 5: Canadian Electrical Code (CEC)
In Alberta, Canadian Electrical Code, Part I (22th Edition), Safety Standard for Electrical Installations can be obtained from municipalaffairs.gov.ab.ca which would re-direct to an online Canadian Standards Association (CSA) web store.
  In this portion of the course, we will look at how to determine copper conductor size, overcurrent and overload protection based on certain Rules from Rule Section 28.

## Slide 6: CEC Rules
We are going to examine the following four Rules:
  Rule 28-104 Motor Supply Conductor Insulation Temperature Rating and Ampacity
  Rule 28-106 Conductors, Individual Motors
  Rule 28-200 Branch Circuit Overcurrent Protection
  Rule 28-306 Rating or Trip Selection of Overload Devices

## Slide 7
501

## Slide 10: Rule 28-104 Motor Supply Conductor Insulation Temperature Rating and Ampacity (p. 204, 393)

## Slide 11
501

## Slide 12: Rule 28-106 Conductors, Individual Motors (p 204, 388)
Once conductor temperature rating is determined, the minimum wire size can then be selected per Rule 28-106

## Slide 13
501

## Slide 14: Rule 28-106 Conductors, Individual Motors (p 204, 388, 345, 346)

## Slide 17: Rule 28-200 Branch Circuit Overcurrent Protection (p, 205, 389)

## Slide 18
501

## Slide 19: Rule 28-200 Branch Circuit Overcurrent Protection

## Slide 20: Rule 28-306 Rating or Trip Selection of Overload Devices

## Slide 21
501